## Sheet1
ENGINEERING COST SCHEDULE/INSPECTION FEE ESTIMATE WORKSHEET
WASHOE COUNTY COMMUNITY SERVICES DEPARTMENT
UNIT PRICES UPDATED JANUARY 2024
PROJECT: |  |  | ENG. FIRM:
DEVELOPER: |  |  | DATE ON PLANS:
NO.LOTS/UNITS: |  |  | PREPARED BY:
AREA (Acres):
Public Works
ITEM | NO. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE | UNIT PRICE | Total
STREETS | 1 | 2 ½" A.C. PAVING |  | S.F. | 2.83 | 3.0281 | 0
| 2 | 3" A.C. PAVING |  | S.F. | 3.11 | 3.3277 | 0
| 3 | 4" A.C. PAVING |  | S.F. | 3.3 | 3.531 | 0
| 4 | 5" A.C. PAVING |  | S.F. | 4.1 | 4.387 | 0
| 5 | 6" A.C. PAVING |  | S.F. | 4.85 | 5.1895 | 0
| 6 | 7" A.C. PAVING |  | S.F. | 5.48 | 5.8636 | 0
| 7 | 8" A.C. PAVING |  | S.F. | 6.3 | 6.741 | 0
| 8 | 4" AGGREGATE BASE |  | S.F. | 0.89 | 0.9523 | 0
| 9 | 5" AGGREGATE BASE |  | S.F. | 1.06 | 1.1342 | 0
| 10 | 6" AGGREGATE BASE |  | S.F. | 1.22 | 1.3054 | 0
| 11 | 8" AGGREGATE BASE |  | S.F. | 1.56 | 1.6692 | 0
| 12 | 10" AGGREGATE BASE |  | S.F. | 2.03 | 2.1721 | 0
| 13 | 12" AGGREGATE BASE |  | S.F. | 2.29 | 2.4503 | 0
| 14 | FOG SEAL |  | S.F. | 0.13 | 0.1391 | 0
15
| 16 | SLURRY SEALS |  | S.F. | 0.31 | 0.3317 | 0
| 17 | CHIP SEAL |  | S.F. | 0.5 | 0.535 | 0
| 18 | ¾" OPEN GRADE |  | S.F. | 1.07 | 1.1449 | 0
| 19 | 6" SELECT SUB-BASE |  | S.F. | 1.57 | 1.6799 | 0
| 20 | 4" DECOMPOSED GRANITE |  | S.F. | 0.82 | 0.8774 | 0
| 21 | 12" SELECT SUB-BASE |  | S.F. | 2.83 | 3.0281 | 0
| 22 | [5 empty] | 0
GRADING | 23 | ROADWAY |  | C.Y. | 6.35 | 6.7945 | 0
| 24 | ON-SITE |  | C.Y. | 5.29 | 5.6603 | 0
| 25 | REVEGETATION |  | ACRE | ref Exhibit A |  | 0
| 26 | BMP'S-INSTALLATION & MAINTENANCE |  | L.S. | ref Exhibit A |  | 0
| 27 | [5 empty] | 0
CONCRETE | 28 | CURB & GUTTER W/ BASE |  | L.F. | 25.2 | 26.964 | 0
| 29 | MEDIAN CURB W/ BASE |  | L.F. | 22.8 | 24.396 | 0
| 30 | SIDEWALK 4 FOOT WIDE WITH BASE |  | L.F. | 31.2 | 33.384 | 0
| 31 | SIDEWALK 5 FOOT WIDE WITH BASE |  | L.F. | 37.2 | 39.804 | 0
| 32 | DRIVEWAY APRON |  | EACH | 1260 | 1348.2 | 0
| 33 | VALLEY GUTTER |  | S.F. | 25.2 | 26.964 | 0
| 34 | LONGITUDINAL VALLEY CENTER |  | L.F. | 43.6 | 46.652 | 0
| 35 | DRAINAGE SWALE |  | L.F. | 33.6 | 35.952 | 0
| 36 | PARKING BUMPER |  | EACH | 360 | 385.2 | 0
| 37 | HANDICAP RAMP |  | EACH | 1860 | 1990.2 | 0
| 38 | [5 empty] | 0
WALLS | 39 | RETAINING WALL 4'-6' (Conc or Block) |  | L.F. | 138 | 147.66 | 0
| 40 | RETAINING WALL 7'-8' (Conc or Block) |  | L.F. | 198 | 211.86 | 0
| 41 | SOUND BARRIER 6'-7' |  | L.F. | 234 | 250.38 | 0
| 42 | SOUND BARRIER 8'-10' |  | L.F. | 288 | 308.16 | 0
| 43 | ROCKERY WALL* 0'-3' |  | S.F. | 48 | 51.36 | 0
| 44 | ROCKERY WALL* 4'-6' |  | S.F. | 72 | 77.04 | 0
*Includes Stacked Rock, Keystone wall, etc. | [6 empty] | 0
0 | [6 empty] | 0
ENGINEERING COST SCHEDULE (Continued) | [6 empty] | 0
0
ITEM | NO. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE | UNIT PRICE
STORM DRAIN | 45 | MANHOLE TYPE 1 48" DIAMETER |  | EACH | 6400 | 6848 | 0
| 46 | MANHOLE TYPE 1B 60" DIAMETER |  | EACH | 7800 | 8346 | 0
| 47 | CATCH BASIN TYPE 1 |  | EACH | 2900 | 3103 | 0
| 48 | CATCH BASIN TYPE 1-A |  | EACH | 2900 | 3103 | 0
| 49 | CATCH BASIN TYPE 3 |  | EACH | 2900 | 3103 | 0
| 50 | CATCH BASIN TYPE 4R |  | EACH | 3700 | 3959 | 0
| 51 | SIDEWALK DRAIN |  | EACH | 1200 | 1284 | 0
| 52 | YARD DRAIN |  | EACH | 1200 | 1284 | 0
| 53 | CMP RISER W/ GRATE |  | EACH | 1800 | 1926 | 0
| 54 | LATERAL 10" DIAMETER |  | L.F. | 86 | 92.02 | 0
| 55 | STORM DRAIN 12" DIAMETER |  | L.F. | 91 | 97.37 | 0
| 56 | STORM DRAIN 15" DIAMETER |  | L.F. | 107 | 114.49 | 0
| 57 | STORM DRAIN 18" DIAMETER |  | L.F. | 110 | 117.7 | 0
| 58 | STORM DRAIN 21" DIAMETER RCP |  | L.F. | 114 | 121.98 | 0
| 59 | STORM DRAIN 24" DIAMETER RCP |  | L.F. | 174 | 186.18 | 0
| 60 | STORM DRAIN 27" DIAMETER RCP |  | L.F. | 180 | 192.6 | 0
| 61 | STORM DRAIN 30" DIAMETER RCP |  | L.F. | 216 | 231.12 | 0
| 62 | STORM DRAIN 36" DIAMETER RCP |  | L.F. | 264 | 282.48 | 0
| 63 | STORM DRAIN 42" DIAMETER RCP |  | L.F. | 324 | 346.68 | 0
| 64 | STORM DRAIN 48" DIAMETER RCP |  | L.F. | 360 | 385.2 | 0
| 65 | STORM DRAIN 54" DIAMETER RCP |  | L.F. | 420 | 449.4 | 0
| 66 | STORM DRAIN 60" DIAMETER RCP |  | L.F. | 480 | 513.6 | 0
| 67 | STORM DRAIN 72" DIAMETER RCP |  | L.F. | 564 | 603.48 | 0
| 68 | ROCK RIP RAP 6"-12" DEPTH |  | S.F. | 9 | 9.63 | 0
| 69 | ROCK RIP RAP 8"-16" DEPTH |  | S.F. | 12 | 12.84 | 0
| 70 | ROCK RIP RAP 18"-24" DEPTH |  | S.F. | 14 | 14.98 | 0
| 71 | DOUBLE HEADWALL 36" |  | L.S. | 12600 | 13482 | 0
| 72 | ROCKERY HEADWALL 36" |  | L.S. | 3800 | 4066 | 0
| 73 | TRASH RACK 24" & SMALLER |  | EACH | 6300 | 6741 | 0
| 74 | TRASH RACK 27"-54" |  | EACH | 7900 | 8453 | 0
| 75 | FLARED END SECTION 12" |  | EACH | 1100 | 1177 | 0
| 76 | FLARED END SECTION 18" |  | EACH | 1400 | 1498 | 0
| 77 | FLARED END SECTION 24" |  | EACH | 1800 | 1926 | 0
| 78 | FLARED END SECTION 30" |  | EACH | 2000 | 2140 | 0
| 79 | [5 empty] | 0
DITCH | 80 | OFFSITE INTERCEPTOR CHANNEL |  | L.F. | 14 | 14.98 | 0
| 81 | REGRADE DRAINAGE CHANNEL |  | L.F. | 6 | 6.42 | 0
| 82 | DETENTION POND |  | L.S. | 18000 | 19260 | 0
| 83 | [5 empty] | 0
| 84 | [5 empty] | 0
MISC. | 85 | STREET SIGNS |  | EACH | 900 | 963 | 0
| 86 | TRAFFIC CONTROL SIGNS |  | EACH | 780 | 834.6 | 0
| 87 | SURVEY MONUMENTS |  | EACH | ref Exhibit A |  | 0
| 88 | END OF ROAD MARKERS |  | EACH | 240 | 256.8 | 0
| 89 | DITCH FENCING 72" |  | L.F. | 36 | 38.52 | 0
| 90 | FINAL PROPERTY CORNERS |  | EACH LOT | ref Exhibit A |  | 0
| 91 | 4" DG PATH |  | S.F. | 5 | 5.35 | 0
| 92 | EMERGENCY ACCESS GATE |  | EACH | 4500 | 4815 | 0
0 | [6 empty] | 0
ENGINEERING COST SCHEDULE (Continued) | [6 empty] | 0
0
ITEM | NO. | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE | UNIT PRICE
SANITARY SEWER | 93 | MANHOLE TYPE 1A 48" DIAMETER |  | EACH | 6400 | 6848 | 0
| 94 | MANHOLE TYPE 1A 60" DIAMETER |  | EACH | 7800 | 8346 | 0
| 95 | MANHOLE TYPE 3 48" DIAMETER |  | EACH | 6000 | 6420 | 0
| 96 | DROP MANHOLE 60" DIAMETER |  | EACH | 9600 | 10272 | 0
| 97 | SERVICE LATERAL 4" DIAMETER |  | EACH | 1800 | 1926 | 0
| 98 | CONDO SERVICE MAIN 6" DIAMETER |  | L.F. | 26 | 27.82 | 0
| 99 | CLEANOUT |  | EACH | 480 | 513.6 | 0
| 100 | SEWER MAIN 8" DIAMETER |  | L.F. | 72 | 77.04 | 0
| 101 | SEWER MAIN 10" DIAMETER |  | L.F. | 84 | 89.88 | 0
| 102 | SEWER MAIN 12" DIAMETER |  | L.F. | 94 | 100.58 | 0
| 103 | SEWER MAIN 15" DIAMETER |  | L.F. | 115 | 123.05 | 0
| 104 | SEWER MAIN 18" DIAMETER |  | L.F. | 132 | 141.24 | 0
| 105 | JACK & BORE |  | L.S. | 90000 | 96300 | 0
| 106 | [5 empty] | 0
ONSITE WATER | 107 | 6" WATERLINE |  | L.F. | 66 | 70.62 | 0
| 108 | 8" WATERLINE |  | L.F. | 84 | 89.88 | 0
| 109 | 10" WATERLINE |  | L.F. | 106 | 113.42 | 0
| 110 | 12" WATERLINE |  | L.F. | 126 | 134.82 | 0
| 111 | 6" GATE VALVE |  | EACH | 2300 | 2461 | 0
| 112 | 8" GATE VALVE |  | EACH | 3000 | 3210 | 0
| 113 | 10" GATE VALVE |  | EACH | 3600 | 3852 | 0
| 114 | 12" GATE VALVE |  | EACH | 4200 | 4494 | 0
| 115 | FLUSH VALVE ASSEMBLY |  | EACH | 6600 | 7062 | 0
| 116 | AIR RELEASE ASSEMBLY |  | EACH | 6000 | 6420 | 0
| 117 | FIRE HYDRANT ASSEMBLY |  | EACH | 10800 | 11556 | 0
| 118 | SINGLE SERVICE |  | EACH | 2400 | 2568 | 0
| 119 | DOUBLE SERVICE |  | EACH | 3600 | 3852 | 0
| 120 | PRV |  | EACH | 67500 | 72225 | 0
| 121 | 8" D.I. WATERLINE |  | L.F. | 144 | 154.08 | 0
| 121 | 10" D.I. WATERLINE |  | L.F. |  |  | 0
| 122 | 12" D.I. WATERLINE |  | L.F. |  |  | 0
PUBLIC UTILITIES | 122 | STREETLIGHTS (INCLUDING CONDUIT, TRANSFORMER, AND WIRE) |  | EACH | 1800 | 1926 | 0
| 123 | TRENCHES* |  | L.F. | 36 | 38.52 | 0
| 124 | TRANSFORMER PADS AND GRADING OF DIRT PAD FOR TRANSFORMER |  | L.S. | 1200 | 1284 | 0
ENG. AS BUILTS | 125 | AS-BUILTS |  | L.S. | 6000 | 6420 | 0
ENG. TESTING | 126 | ALL TESTING AS NECESSARY |  | EACH LOT | 600 | 642 | 0
ENG. TESTING | 127 | OFFSITE ROADWAY TESTING AS NECESSARY |  | L.F. | 25 | 26.75 | 0
WASHOE COUNTY INSPECTION | 128 | WASHOE COUNTY CSD INSPECTION |  | L.S. | 10000 | 10700 | 0
0 | 129 | [5 empty] | 0
0